## Slide 1: Discrete-time Controllers
Control Engineering

## Slide 2: Course Schedule
Systems
Continuous-time Controllers
Laplace Domain
Poles/Zeros & Stability
Controller Design
Discrete-time Controllers
State Space Representation
Advanced Control Methods

## Slide 3: Discrete-time Controllers
Digital controllers
Sampling & Zero-Order Hold
Discrete-time modeling
z-transfer functions
Discretization methods

## Slide 4: Why Digital Control?
Most modern controllers are implemented on:
  Microcontrollers
  DSPs (Digital Signal Processor)
  Computers
Advantages:
  Flexibility (software changes)
  Cost efficiency
  Advanced algorithms possible
Disadvantages:
  Sampling effects
  Quantization
  Delays (latency)

## Slide 5: Continuous vs Digital Control
Continuous-time:
Signals defined
Differential equations
Digital (discrete-time):
Signals defined at
Difference equations
Key idea: approximation of continuous systems using sampled data

## Slide 6
Idea:
controlling a continuous physical system using a digital computer

## Slide 7: Sampling
Signals measured at discrete times only
: sampling period
: integer index
Example:

Sampling frequency:
Angular frequency:

## Slide 8: Undersampling
Aliasing: higher-frequency signal disguised as one of lower frequency

## Slide 9: Example: Moiré Effect in Digital Images
Aliasing in digital images often manifests itself as ringing patterns
Temporal aliasing can be observed as wagon-wheel effect (apparent backward motion) in image sequences (video): frame rate too low with respect to speed of wheel rotation

## Slide 10: Nyquist-Shannon Sampling Theorem
No aliasing (continuous signal can be recovered from its samples) if:
 Must sample at least twice the highest signal frequency
Digital images: no aliasing if ,
with number of pixels
(second dimension accordingly)
Aliasing for:
Nyquist frequency

## Slide 11: Anti-Aliasing Filter
Solution: use a low-pass filter (smoothing) before sampling
 remove signal frequencies above Nyquist frequency
average of black and white

## Slide 12: Zero-Order Hold (ZOH)
Holds input constant between samples
Real actuators receive continuous signals
 digital output must be converted
ZOH models Digital-to-Analog Converter (DAC) behavior
ZOH introduces:
Delay
Approximation error
Signals are now sequences

## Slide 13: From Differential to Difference Equations
Continuous-time systems: differential equations
Discrete-time systems (): difference equations
Sampling a continuous-time system leads to a difference equation:
Start with differential equation
Solve over one sampling interval
Evaluate at next sample

## Slide 14: Example: First-Order System
with initial condition
Constant input (ZOH):
Homogenous solution:
Particular solution: try constant solution (constant input )

General solution:

## Slide 15
Initial condition:



Sample at :
Discrete-time system: difference equation
steady state
transient
System moves from to
Exponential transition

## Slide 16: Difference Equations
First-order system template:
Second-order system template:
Time-shifted version to make it causal (current output from past values):
memory
input effect
comes from continuous-time physics

## Slide 17: Motivation for z-Transform
How to solve difference equations?
How to analyze stability?
How to design controllers?
Continuous-time systems:
differential equation  Laplace transform  algebra (transfer function)
Discrete-time systems:
difference equation  z-transform  algebra (z-transfer function)

## Slide 18: z-Transform Definition
: discrete-time signal
: complex variable
Interpretation:
Converts a sequence into a function of
Discrete-time equivalent of the Laplace transform
Laplace transform:

## Slide 19: Time Shift Property
 Shifts in difference equations () become simple multiplications in the z-domain

## Slide 20: z-Transfer Functions
Example:
Apply z-transform:
Transfer Function:
Discrete equivalent of Laplace transfer functions

## Slide 21: s-Plane Mapped to z-Plane
 Relation:
Sampling exponentials:
 unit circle

## Slide 22: Stability in Discrete-Time Systems
Remember:
: stable
: marginally stable
: unstable
 Discrete-time system stable if poles lie inside unit circle

## Slide 23: ZOH Equivalent Discretization
Goal: direct mapping
Steps:
ZOH modifies input as seen by the plant
ZOH equivalent discretization:
Discrete-time system that produces exactly the same sampled output as the continuous-time plant under ZOH input

## Slide 24: ZOH Equivalent Transfer Function
Converts a continuous-time plant into a discrete-time equivalent:
input is sequence of rectangular pulses: step responses over one interval
corresponds to constant signal turn ON at
corresponds to delay by  delayed constant: turn OFF () at

## Slide 25: ZOH Discretization Example
Given continuous-time system:
Goal: Find discrete-time transfer function, using ZOH with sampling time
Apply ZOH:
Go to time domain:
Sample output:
Take z-transform:

## Slide 26: Step Response Comparison

## Slide 27: Alternative Discretization Methods
How can I approximate a continuous transfer function in discrete time without modeling ZOH explicitly?
Goal:
(approximative)
Methods:
Forward Euler
Backward Euler
Tustin (bilinear)

## Slide 28: Forward Euler Method
Simple numerical approximation
Can distort dynamics
Approximation:

## Slide 29: Example (Forward Euler)
Given:
Substitute:
Simple
Poor stability properties
Can destabilize system

## Slide 30: Backward Euler
Approximation:
More stable than forward Euler
Introduces damping

## Slide 31: Tustin (Bilinear) Method
Bilinear transformation
Preserves frequency characteristics better
Approximation:

## Slide 32: Example (Tustin)
Given:
Substitute Tustin approximation
…

## Slide 33: Frequency Warping
Tustin causes nonlinear frequency mapping
Correction: Prewarping
…

## Slide 34: Comparison

## Slide 35: Implementation Issues
Quantization
Computation delay
Numerical precision
…

## Slide 36: Discrete-Time PID Tuning
PID controller (continuous-time):
Goal: Implement this in discrete-time

## Slide 37: Why Discrete PID is Different
Key differences from continuous PID:
Signals are sampled:
Integration becomes summation
Derivative becomes difference
Numerical approximation required

## Slide 38: Discrete-Time PID Goal
Goal:
function of
Two main forms:
Position form
Velocity (incremental) form

## Slide 39: Summary
Digital control is essential in modern systems
Sampling introduces constraints
ZOH connects discrete and continuous worlds
z-transform is key analysis tool
Discretization method matters